STATE OF SOUTH DAKOTA

SOUTH DAKOTA SCHOOL OF MINES & TECHNOLOGY (SOUTH DAKOTA MINES)

501 EAST SAINT JOSEPH STREET

RAPID CITY, SD  57701

PLACER HALL PAINTING PROJECT

PROPOSALS ARE DUE NO LATER THAN 02/03/2023, 3PM MST

| RFP #: 23RFP8321 | State POC: Barb Mustard | EMAIL: Barbara.mustard@sdsmt.edu |
| --- | --- | --- |

READ CAREFULLY

| FIRM NAME: |  | AUTHORIZED SIGNATURE: |  |
| --- | --- | --- | --- |

| ADDRESS: |  | TYPE OR PRINT NAME: |  |
| --- | --- | --- | --- |

| CITY/STATE: |  | TELEPHONE NO: |  |
| --- | --- | --- | --- |

| ZIP (9 DIGIT): |  | FAX NO: |  |
| --- | --- | --- | --- |

| E-MAIL: |  |
| --- | --- |

## PRIMARY CONTACT INFORMATION

| CONTACT NAME: |  | TELEPHONE NO: |  |
| --- | --- | --- | --- |
| FAX NO: |  | E-MAIL: |  |

- GENERAL INFORMATION

  - PURPOSE OF REQUEST FOR PROPOSAL (RFP)

Paint apartments located in South Dakota Mines Placer Hall.

  - ISSUING OFFICE AND RFP REFERENCE NUMBER

The South Dakota Mines is the issuing office for this document and all subsequent addenda relating to it, on behalf of the State of South Dakota, South Dakota Mines.  The reference number for the transaction is RFP #   23RFP8321   .  This number must be referred to on all proposals, correspondence, and documentation relating to the RFP.

  - SCHEDULE OF ACTIVITIES (SUBJECT TO CHANGE)

| RFP Publication | 01/09/2023 |
| --- | --- |
| On-site Review | 01/18/2023, 1pm MST– Placer Hall |
| Questions Due by Offerors Responses to Offeror Questions | 01/25/2023, 3pm MST 01/27/2023 |
| Proposal Submission | 02/03/2023, 3pm MST |
| Anticipated Award Decision/Contract Negotiation | 02/10/2023 |

# SUBMITTING YOUR PROPOSAL

All proposals must be completed and received via email (Barbara.Mustard@sdsmt.edu) by the date and time indicated in the Schedule of Activities.  One electronic copy in PDF format should be submitted.

Proposals received after the deadline will be late and ineligible for consideration.

All proposals must be signed, in ink, by an officer of the responder, legally authorized to bind the responder to the proposal, and sealed in the form intended by the respondent. Proposals that are not properly signed may be rejected.  The sealed envelope should be marked with the appropriate RFP Number and Title. Proposals should be addressed and labeled as follows:

REQUEST FOR PROPOSAL #:     23RFP8321

PROPOSAL DUE:  02/03/2023

STATE POC:  Barb Mustard

No proposal shall be accepted from, or no contract or purchase order shall be awarded to any person, firm or corporation that is in arrears upon any obligations to the State of South Dakota, or that otherwise may be deemed irresponsible or unreliable by the State of South Dakota.

  - CERTIFICATION REGARDING DEBARMENT, SUSPENSION, INELIGIBILITY AND VOLUNTARY EXCLUSION – LOWER TIER COVERED TRANSACTIONS

By signing and submitting this proposal, the offeror certifies that neither it nor its principals is presently debarred, suspended, proposed for debarment, declared ineligible, or voluntarily excluded from participation, by any Federal department or agency, from transactions involving the use of Federal funds.  Where the offeror is unable to certify to any of the statements in this certification, the bidder shall attach an explanation to their offer.

  - NON-DISCRIMINATION STATEMENT

The State of South Dakota requires that all contractors, vendors, and suppliers doing business with any State agency, department, or institution, provide a statement of non-discrimination.  By signing and submitting their proposal, the offeror certifies they do not discriminate in their employment practices with regard to race, color, creed, religion, age, sex, ancestry, national origin or disability.

  - RESTRICTION OF BOYCOTT OF ISRAEL

For contractors, vendors, suppliers, or subcontractors with five (5) or more employees who enter into a contract with the State of South Dakota that involves the expenditure of one hundred thousand dollars ($100,000) or more, by submitting a response to this solicitation or agreeing to contract with the State, the bidder or offeror certifies and agrees that the following information is correct:

The bidder or offeror, in preparing its response or offer or in considering proposals submitted from qualified, potential vendors, suppliers, and subcontractors, or in the solicitation, selection, or commercial treatment of any vendor, supplier, or subcontractor, has not refused to transact business activities, has not terminated business activities, and has not taken other similar actions intended to limit its commercial relations, related to the subject matter of the bid or offer, with a person or entity on the basis of Israeli national origin, or residence or incorporation in Israel or its territories, with the specific intent to accomplish a boycott or divestment of Israel in a discriminatory manner.  It is understood and agreed that, if this certification is false, such false certification will constitute grounds for the State to reject the bid or response submitted by the bidder or offeror on this project and terminate any contract awarded based on the bid or response.  The successful bidder or offeror further agrees to provide immediate written notice to the contracting executive branch agency if during the term of the contract it no longer complies with this certification and agrees such noncompliance may be grounds for contract termination.

  - MODIFICATION OR WITHDRAWAL OF PROPOSALS

Proposals may be modified or withdrawn by the offeror prior to the established due date and time.

No oral, telephonic, telegraphic or facsimile responses or modifications to informal, formal bids, or Request for Proposals will be considered.

  - OFFEROR INQUIRIES

Offerors may email inquiries concerning this RFP to obtain clarification of requirements.  No inquiries will be accepted after the date and time indicated in the Schedule of Activities. Inquiries must be emailed to Barb Mustard at Barbara.mustard@sdsmt.edu with the subject line “RFP # 23RFP8321”.  Inquiries by any other method than email will not be accepted.

South Dakota Mines will respond to offeror’s inquiries (if required) via e-mail.  In addition, all inquiries and the State’s response will be posted on the state’s e-procurement system. Offerors may not rely on any other statements, either of a written or oral nature, that alter any specification or other term or condition of this RFP.  Offerors will be notified in the same manner as indicated above regarding any modifications to this RFP.

  - PROPRIETARY INFORMATION

The proposal of the successful offeror(s) becomes public information.  Proprietary information can be protected under limited circumstances such as client lists and non-public financial statements.  An entire proposal may not be marked as proprietary.  Offerors must clearly identify in the Executive Summary and mark in the body of the proposal any specific proprietary information they are requesting to be protected.  The Executive Summary must contain specific justification explaining why the information is to be protected.  Proposals may be reviewed and evaluated by any person at the discretion of the State.  All materials submitted become the property of the State of South Dakota and may be returned only at the State's option.

# LENGTH OF CONTRACT

All work must be completed between May 15, 2023 and July 28, 2023

  - GOVERNING LAW

Venue for any and all legal action regarding or arising out of the transaction covered herein shall be solely in the State of South Dakota. The laws of South Dakota shall govern this transaction.

  - DISCUSSIONS WITH OFFERORS (ORAL PRESENTATION/NEGOTIATIONS)

An oral presentation by an offeror to clarify a proposal may be required at the sole discretion of the State.  However, the State may award a contract based on the initial proposals received without discussion with the Offeror.  If oral presentations are required, they will be scheduled after the submission of proposals.  Oral presentations will be made at the offeror’s expense.

This process is a Request for Proposal/Competitive Negotiation process. Each Proposal shall be evaluated, and each respondent shall be available for negotiation meetings at the State’s request. The State reserves the right to negotiate on any and/or all components of every proposal submitted. From the time the proposals are submitted until the formal award of a contract, each proposal is considered a working document and as such, will be kept confidential. The negotiation discussions will also be held as confidential until such time as the award is completed.

## STANDARD CONTRACT TERMS AND CONDITIONS

Any contract or agreement resulting from this RFP will include the State’s standard terms and conditions as listed below, along with any additional terms and conditions as negotiated by the parties:

  - The Contractor will perform those services described in the Scope of Work, attached hereto as Section 3 of the RFP and by this reference incorporated herein.

  - The Contractor’s services under this Agreement shall commence on 05/15/2023 and end on 07/28/2023, unless sooner terminated pursuant to the terms hereof.

  - The Contractor will not use State equipment, supplies or facilities.  The Contractor will provide the State with its Employer Identification Number, Federal Tax Identification Number or Social Security Number upon execution of this Agreement.

  - The State will make payment for services upon satisfactory completion of the services. The State will not pay Contractor's expenses as a separate item.  Payment will be made pursuant to itemized invoices submitted with a signed state voucher.  Payment will be made consistent with SDCL ch. 5-26.

  - The Contractor agrees to indemnify and hold the State of South Dakota, its officers, agents and employees, harmless from and against any and all actions, suits, damages, liability or other proceedings that may arise as the result of performing services hereunder.  This section does not require the Contractor to be responsible for or defend against claims or damages arising solely from errors or omissions of the State, its officers, agents or employees.

  - The Contractor, at all times during the term of this Agreement, shall obtain and maintain in force insurance coverage of the types and with the limits as follows:

A.  Commercial General Liability Insurance:

The Contractor shall maintain occurrence based commercial general liability insurance or equivalent form with a limit of not less than $1,000,000.00 for each occurrence.  If such insurance contains a general aggregate limit it shall apply separately to this Agreement or be no less than two times the occurrence limit.

B.  Professional Liability Insurance or Miscellaneous Professional Liability Insurance:

The Contractor agrees to procure and maintain professional liability insurance or miscellaneous professional liability insurance with a limit not less than $1,000,000.00.

C.  Business Automobile Liability Insurance:

The Contractor shall maintain business automobile liability insurance or equivalent form with a limit of not less than $1,000,000.00 for each accident.  Such insurance shall include coverage for owned, hired and non-owned vehicles.

D.  Worker’s Compensation Insurance:

The Contractor shall procure and maintain workers’ compensation and employers’ liability insurance as required by South Dakota law.

Before beginning work under this Agreement, Contractor shall furnish the State with properly executed Certificates of Insurance which shall clearly evidence all insurance required in this Agreement.  In the event a substantial change in insurance, issuance of a new policy, cancellation or nonrenewal of the policy, the Contractor agrees to provide immediate notice to the State and provide a new certificate of insurance showing continuous coverage in the amounts required.  Contractor shall furnish copies of insurance policies if requested by the State.

  - While performing services hereunder, the Contractor is an independent contractor and not an officer, agent, or employee of the State of South Dakota.

  - Contractor agrees to report to the State any event encountered in the course of performance of this Agreement which results in injury to the person or property of third parties, or which may otherwise subject Contractor or the State to liability.  Contractor shall report any such event to the State immediately upon discovery.

Contractor's obligation under this section shall only be to report the occurrence of any event to the State and to make any other report provided for by their duties or applicable law.  Contractor's obligation to report shall not require disclosure of any information subject to privilege or confidentiality under law (e.g., attorney-client communications).  Reporting to the State under this section shall not excuse or satisfy any obligation of Contractor to report any event to law enforcement or other entities under the requirements of any applicable law.

  - This Agreement may be terminated by either party hereto upon thirty (30) days written notice.  In the event the Contractor breaches any of the terms or conditions hereof, this Agreement may be terminated by the State at any time with or without notice.  If termination for such a default is effected by the State, any payments due to Contractor at the time of termination may be adjusted to cover any additional costs to the State because of Contractor's default.  Upon termination the State may take over the work and may award another party an agreement to complete the work under this Agreement.  If after the State terminates for a default by Contractor it is determined that Contractor was not at fault, then the Contractor shall be paid for eligible services rendered and expenses incurred up to the date of termination.

  - This Agreement depends upon the continued availability of appropriated funds and expenditure authority from the Legislature for this purpose.  If for any reason the Legislature fails to appropriate funds or grant expenditure authority, or funds become unavailable by operation of law or federal funds reductions, this Agreement will be terminated by the State.  Termination for any of these reasons is not a default by the State nor does it give rise to a claim against the State.

  - This Agreement may not be assigned without the express prior written consent of the State.  This Agreement may not be amended except in writing, which writing shall be expressly identified as a part hereof and be signed by an authorized representative of each of the parties hereto.

  - This Agreement shall be governed by and construed in accordance with the laws of the State of South Dakota.  Any lawsuit pertaining to or affecting this Agreement shall be venued in Circuit Court, Sixth Judicial Circuit, Hughes County, South Dakota.

  - The Contractor will comply with all federal, state and local laws, regulations, ordinances, guidelines, permits and requirements applicable to providing services pursuant to this Agreement, and will be solely responsible for obtaining current information on such requirements.

  - The Contractor may not use subcontractors to perform the services described herein without the express prior written consent of the State.  The Contractor will include provisions in its subcontracts requiring its subcontractors to comply with the applicable provisions of this Agreement, to indemnify the State, and to provide insurance coverage for the benefit of the State in a manner consistent with this Agreement.  The Contractor will cause its subcontractors, agents, and employees to comply, with applicable federal, state and local laws, regulations, ordinances, guidelines, permits and requirements and will adopt such review and inspection procedures as are necessary to assure such compliance.

  - Contractor hereby acknowledges and agrees that all reports, plans, specifications, technical data, miscellaneous drawings, software system programs and documentation, procedures, or files, operating instructions and procedures, source code(s) and documentation, including those necessary to upgrade and maintain the software program, and all information contained therein provided to the State by the Contractor in connection with its performance of services under this Agreement shall belong to and is the property of the State and will not be used in any way by the Contractor without the written consent of the State.  Papers, reports, forms, software programs, source code(s) and other material which are a part of the work under this Agreement will not be copyrighted without written approval of the State.

  - The Contractor certifies that neither Contractor nor its principals are presently debarred, suspended, proposed for debarment or suspension, or declared ineligible from participating in transactions by the federal government or any state or local government department or agency.  Contractor further agrees that it will immediately notify the State if during the term of this Agreement Contractor or its principals become subject to debarment, suspension or ineligibility from participating in transactions by the federal government, or by any state or local government department or agency.

  - Any notice or other communication required under the Agreement shall be in writing and sent to the appropriate address and individuals indicated in the Agreement, or such authorized designees as either party may from time to time designate in writing.  Notices or communications to or between the parties shall be deemed to have been delivered when received via email.

  - In the event that any court of competent jurisdiction shall hold any provision of this Agreement unenforceable or invalid, such holding shall not invalidate or render unenforceable any other provision hereof.

  - All other prior discussions, communications and representations concerning the subject matter of this Agreement are superseded by the terms of this Agreement, and except as specifically provided herein, this Agreement constitutes the entire agreement with respect to the subject matter hereof.

# SCOPE OF WORK

Paint all wall surfaces and any conduit running on the wall noted in below drawings to ceiling height. Patching and sanding will be needed in some spaces. The paint colors required will be Sherwin Williams 6140 Moderate White and Sherwin Williams 6239 Upward. Exact tags to match can be found below. No substitutions allowed. Two coats of paint will be required for all areas.

3.1	EXAMINATION

- Do not begin application of coatings until substrates have been properly prepared.

- Verify that surfaces are ready to receive work as instructed by the product manufacturer.

- Examine surfaces scheduled to be finished prior to commencement of work. Report any condition that may potentially affect proper application.

- Measure moisture content of surfaces using an electronic moisture meter. Do not apply finishes unless moisture content of surfaces are below the following maximums:

- Gypsum Wallboard: 12 percent.

- Masonry, Concrete, and Concrete Unit Masonry: 12 percent.

- Concrete Floors and Traffic Surfaces: 8 percent.

3.2	PREPARATION

- Clean surfaces thoroughly and correct defects prior to coating application.

- Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

- Remove or mask surface appurtenances, including electrical plates, hardware, light fixture trim, escutcheons, and fittings, prior to preparing surfaces or finishing.

- Seal surfaces that might cause bleed through or staining of topcoat.

- Remove mildew from impervious surfaces by scrubbing with solution of tetra-sodium phosphate and bleach. Rinse with clean water and allow surface to dry.

- Concrete and Unit Masonry Surfaces to be Painted: Remove dirt, loose mortar, scale, salt or alkali powder, and other foreign matter. Remove oil and grease with a solution of tri- sodium phosphate; rinse well and allow to dry. Remove stains caused by weathering of corroding metals with a solution of sodium metasilicate after thoroughly wetting with water. Allow to dry.

- Gypsum Board Surfaces to be Painted: Fill minor defects with filler compound. Spot prime defects after repair.

- Concrete Floors and Traffic Surfaces to be Painted: Remove contamination, acid etch, and rinse floors with clear water. Verify required acid-alkali balance is achieved. Allow to dry.

- Galvanized Surfaces to be Painted: Remove surface contamination and oils and wash with solvent. Apply coat of etching primer.

- Corroded Steel and Iron Surfaces to be Painted: Prepare using at least SSPC-SP 2 (hand tool cleaning) or SSPC-SP 3 (power tool cleaning) followed by SSPC-SP 1 (solvent cleaning).

- Uncorroded Uncoated Steel and Iron Surfaces to be Painted: Remove grease, mill scale, weld splatter, dirt, and rust. Where heavy coatings of scale are evident, remove by hand wire brushing or sandblasting; clean by washing with solvent. Apply a treatment of phosphoric acid solution, ensuring weld joints, bolts, and nuts are similarly cleaned. Prime paint entire surface; spot prime after repairs.

- Shop-Primed Steel Surfaces to be Finish Painted: Sand and scrape to remove loose primer and rust. Feather edges to make touch-up patches inconspicuous. Clean surfaces with solvent. Prime bare steel surfaces. Re-prime entire shop-primed item.

3.3	APPLICATION

- Remove unfinished louvers, grilles, covers, and access panels on mechanical and electrical components and paint separately.

- Apply products in accordance with manufacturer's instructions.

- Do not apply finishes to surfaces that are not dry. Allow applied coats to dry before next coat is applied.

- Apply each coat to uniform appearance.

- Sand wood and metal surfaces lightly between coats to achieve required finish.

- Vacuum clean surfaces of loose particles. Use tack cloth to remove dust and particles just prior to applying next coat.

- Reinstall electrical cover plates, hardware, light fixture trim, escutcheons, and fittings removed prior to finishing.

3.4	CLEANING

- Collect waste material that could constitute a fire hazard, place in closed metal containers, and remove daily from site.

3.5	PROTECTION

- Protect finished coatings until completion of project.

- Touch-up damaged coatings after Substantial Completion.

- PROPOSAL REQUIREMENTS AND COMPANY QUALIFICATIONS

  - The offeror is cautioned that it is the offeror's sole responsibility to submit information related to the evaluation categories and that the State of South Dakota is under no obligation to solicit such information if it is not included with the proposal. The offeror's failure to submit such information may cause an adverse impact on the evaluation of the proposal.

  - Offeror's Contacts: Offerors and their agents (including subcontractors, employees, consultants, or anyone else acting on their behalf) must direct all of their questions or comments regarding the RFP, the evaluation, etc. to the buyer of record indicated on the first page of this RFP. Offerors and their agents may not contact any state employee other than the buyer of record regarding any of these matters during the solicitation and evaluation process. Inappropriate contacts are grounds for suspension and/or exclusion from specific procurements. Offerors and their agents who have questions regarding this matter should contact the buyer of record.

  - The offeror may be required to submit a copy of their most recent audited financial statements upon the State’s request.

  - Provide the following information related to at least three previous and current service/contracts, performed by the offeror’s organization, which are similar to the requirements of this RFP.  Provide this information for any service/contract that has been terminated, expired or not renewed in the past three years.

- Name, address and telephone number of client/contracting agency and a representative of that agency who may be contacted for verification of all information submitted;

- Dates of the service/contract; and

- A brief, written description of the specific prior services performed and requirements thereof.

- PROPOSAL RESPONSE FORMAT

  - The vendor should provide one (1) copy of their entire proposal, including all attachments in PDF electronic format via email to Barbara.mustard@sdsmt.edu The proposal should be page numbered and should have an index and/or a table of contents referencing the appropriate page number.

  - All proposals must be organized and tabbed with labels for the following headings:

    - RFP Form.  The State’s Request for Proposal form completed and signed.

    - Executive Summary.  The one or two page executive summary is to briefly describe the offeror's proposal.  This summary should highlight the major features of the proposal.  It must indicate any requirements that cannot be met by the offeror.  The reader should be able to determine the essence of the proposal by reading the executive summary.  Proprietary information requests should be identified in this section.

    - Detailed Response.  This section should constitute the major portion of the proposal and must contain at least the following information:

      - A complete narrative of the offeror's assessment of the work to be performed, the offeror’s ability and approach, and the resources necessary to fulfill the requirements.  This should demonstrate the offeror's understanding of the desired overall performance expectations.

      - A specific point-by-point response, in the order listed, to each requirement in the RFP.  The response should identify each requirement being addressed as enumerated in the RFP.

      - A clear description of any options or alternatives proposed.

    - Cost Proposal.  Cost will be evaluated independently from the technical proposal.  Offerors may submit multiple cost proposals.  All costs related to the provision of the required services must be included in each cost proposal offered.

See section 7.0 for more information related to the cost proposal.

- PROPOSAL EVALUATION AND AWARD PROCESS

  - After determining that a proposal satisfies the mandatory requirements stated in the Request for Proposal, the evaluator(s) shall use subjective judgment in conducting a comparative assessment of the proposal by considering each of the following criteria:

    - Cost

    - Ability to complete work indicated in 1.11

    - Experience and Reliability

    - Expertise of Personnel

  - Experience and reliability of the offeror's organization are considered subjectively in the evaluation process. Therefore, the offeror is advised to submit any information which documents successful and reliable experience in past performances, especially those performances related to the requirements of this RFP.

  - The qualifications of the personnel proposed by the offeror to perform the requirements of this RFP, whether from the offeror's organization or from a proposed subcontractor, will be subjectively evaluated. Therefore, the offeror should submit detailed information related to the experience and qualifications, including education and training, of proposed personnel.

  - The State reserves the right to reject any or all proposals, waive technicalities, and make award(s) as deemed to be in the best interest of the State of South Dakota.

  - Award:  The requesting agency and the highest ranked offeror shall mutually discuss and refine the scope of services for the project and shall negotiate terms, including compensation and performance schedule.

    - If the agency and the highest ranked offeror are unable for any reason to negotiate a contract at a compensation level that is reasonable and fair to the agency, the agency shall, either orally or in writing, terminate negotiations with the contractor.   The agency may then negotiate with the next highest ranked contractor.

    - The negotiation process may continue through successive offerors, according to agency ranking, until an agreement is reached, or the agency terminates the contracting process.

# COST PROPOSAL

The cost should be submitted in one lump sum for the entirety of the project.

# Comments

Insert the title of your RFP/Project.

Insert date and time of the deadline for proposal submission.  Include CDT or CST as appropriate.

Insert RFP #

Insert the agency POC Name

Insert Buyer Email address

Insert Department/Agency or Office name that is issuing the RFP.

Insert Department/Agency name for which the RFP is being issued.

Insert RFP #.

Insert appropriate dates.  DELETE any item not needed.

Describe how site visits will be handled.  If there will be no site visits for your RFP, delete this section.

Insert agency name.

Insert RFP #

Insert Proposal Due Date

Insert Buyer Name

Insert agency name and address

New Restriction of Boycott of Israel term added per Executive Order dated 01/14/2020

Insert RFP Number

Insert agency name

Insert information relating to the length of the proposed contract, including whether there will be an opportunity for contract extensions.

Note:  These Standard Terms and Conditions are issued to furnish guidance to state agencies in the preparation of Professional Service Contracts. Agencies should thoroughly review the terms and tailor them to accommodate their specific requirements. In addition draft RFP should be reviewed by your agency’s legal council prior to submitting the draft RFP to OPM for posting.

Insert the detailed scope of work in this section.  This should include specific requirements related to the work to be done.

List all requirements that need to be met by the contract that are not specifically related to the actual work to be performed.  This would be additional information required to be submitted with the proposal.  Delete any listed requirement that does not apply to your RFP.

This must be left in.  Do not delete this requirement.