Addendum 1 (Answers to Questions)

Question 1) What is the size of the existing vent hood?

Answer - 60 inches wide x 146 inches deep

Question 2) What is the size and location of the vent pipe on the hood?

Answer – Vent pipe is 12 inches square( there is also a 9 in round vent pipe attached to the front of 12 inch square pipe)

Vent pipe is not quite in the center of the hood – center of vent pipe is located 30 inches from sides and 68 inches from front of vent.  Vent hole is 113 ½ inches above floor.  Sides of vent hood are 94 inches above the floor at the bottom edge.

Question 3) Is this for a brick lined or fiber lined kiln?

Answer – Brick lined kiln