**Addendum 1**

**RFQ- Fire Extinguisher Service, Inspections & Maintenance- Knoxville**

**Question Posed:**

Can you provide a device count of how many extinguishers there are on campus that would need to be inspected? Or an estimate if not exact.

|  |
| --- |
| ABC  5# |
| ABC 10# |
| Class K |
| Class D |
| CO2 5# |
| Halotron 2.5# |
| Halotron 5# |

**Departmental Response:**

Unfortunately, I can’t provide an exact count for the 6-year service or hydrostatic testing.  The best I can do is a total estimate (not by individual counts).

The estimated number of extinguishers requiring service varies from 500 to 1,000 per year over the next four years and includes mainly 5 lb and 10 lb extinguishers.

I don’t have specific numbers on Class K, D, or other types/sizes.

There are no inspections that would be performed on campus by the chosen vendor.  We perform all monthly and annual inspections.

The RFQ is only for 6-year internal service and hydrostatic testing.